## Activity_Part
Disease | Activities and participation limitations | Assistive Devices: Technologies
Muscular Dystrophy | Watching | Individuals with limited mobility may need assistance adjusting the TV’s height or angle for optimal viewing.
Muscular Dystrophy | Accessibility | Audiobooks can be an excellent alternative for reading, as they require no physical holding of materials.
Muscular Dystrophy | Listening | Volume Control: Adjusting volume or using assistive listening devices may be needed for those with hearing difficulties.
Muscular Dystrophy | Undertaking single task / Different Stages | Smart Home Devices: Devices like Amazon Echo, Google Home, or Apple HomePod can perform tasks like sending messages, controlling lights, setting reminders, or making calls through voice commands. Voice Assistants: On smartphones or tablets, voice assistants like Siri, Google Assistant, and Alexa can help with communication, scheduling, web searches, and more.
Muscular Dystrophy | Undertaking multiple tasks / Coordination | Voice-activated devices: These help control home environments, make phone calls, send messages, and manage reminders without physical effort. Smart Home Technology: Automated lights, thermostats, and appliances that respond to voice commands or smartphone apps can simplify routine activities. Adaptive Tools for Daily Use: There are a variety of tools designed for those with limited hand strength, such as easy-grip scissors, automatic can openers, or adaptive utensils.
Muscular Dystrophy | Carrying out daily routine | Voice-activated devices: These help control home environments, make phone calls, send messages, and manage reminders without physical effort. Smart Home Technology: Automated lights, thermostats, and appliances that respond to voice commands or smartphone apps can simplify routine activities. Adaptive Tools for Daily Use: There are a variety of tools designed for those with limited hand strength, such as easy-grip scissors, automatic can openers, or adaptive utensils.
Muscular Dystrophy | Handling Stress | Handling stress and other psychological demands is a significant aspect of managing Muscular Dystrophy (MD). Living with a progressive, chronic condition like MD can bring unique emotional and psychological challenges
Muscular Dystrophy | Conversation | Assistive Devices: Technologies such as speech-generating devices can help facilitate communication.
Muscular Dystrophy | Communication | Augmentative and Alternative Communication (AAC) Devices AAC devices are tools that support or replace speech for individuals who have difficulty speaking.
Muscular Dystrophy | Changing basic body position | Support from caregivers or personal assistants Use adaptive equipment and tools for repositioning, e.g. bed rails and grab bars, slide sheets or transfer sheets, leg lifters, over-bed trapeze bars, and adjustable beds.
Muscular Dystrophy | Maintaining body position | Supportive equipment for maintaining body position, e.g. seating systems and wheelchairs, positioning aids for bed and standing support
Muscular Dystrophy | Transferring oneself | Power wheelchairs with transfer assistance features Adaptive equipment for safe transfers
Muscular Dystrophy | Lifting and carrying objects | Reachers or Grabbers: These handheld tools extend reach and allow for picking up lightweight objects without bending or overreaching. Lightweight Bags with Shoulder Straps: Distributing weight across the shoulder, rather than carrying with hands, can make it easier to transport small items.
Muscular Dystrophy | Lifting and carrying objects | Foot push pads, furniture sliders or casters, foot-controlled pedals and low-level oush carts are some of the assistive tools for moving objects with lower extremities
Muscular Dystrophy | Fine hand use | Use assistive devices for fine hand use like adaptive scissors and nail clippers, button hooks and zipper pulls, etc
Muscular Dystrophy | Using hands and arms - daily tasks | Arm supports can help keep the arms lifted and stabilized, allowing users to perform tasks with less fatigue.
Muscular Dystrophy | Walking and standing - long periods | Many people with MD use mobility aids like walkers, canes, manual or power wheelchairs. These devices reduce strain and make it easier to navigate through daily activities
Muscular Dystrophy | Moving around | 1) It will require portable mobility aids like folding wheelchairs, travel scooters and portable power wheeelchairs. 2) Smart home technology can play a crucial role in enhancing mobility and independence. Devices like voice-activated systems, automated doors, and adaptive switches allow individuals with limited mobility to control their environment easily.
Muscular Dystrophy | Washing oneself / Bathing and grooming | Shower chairs or grab bars for safer bathing. Long-handled sponges to help reach difficult areas.
Muscular Dystrophy | Brushing | Electric toothbrushes for easier oral hygiene. Lightweight hairbrushes and tools with enlarged handles.
Muscular Dystrophy | Toileting | 1) Toilet Seat Lifts - Electrically powered lifts to assist with sitting and standing. 2) Bidet Toilet Systems - Integrated bidets with remote control for hygiene support. 3) Motion-Sensor Flush Systems - Reduces manual effort for flushing. 4) Smart Toilets - Automated features like self-cleaning, bidets, and seat adjustments. 5) Overhead Ceiling Lifts - Motorized systems for transferring individuals onto the toilet. 6) Voice-Activated Devices - Control toilet settings hands-free. 7) Adjustable Height Toilets - Powered adjustments for optimal positioning. 8) Robotic Toileting Aids - Devices that assist with cleaning and transfer.
Muscular Dystrophy | Dressing and undressing tasks | Adaptive clothing, like velcro or magnetic fasteners instead of buttons or zippers, can make dressing easier. Assistive tools such as a dressing stick or long-handled shoehorn can help with putting on clothes without bending.
Muscular Dystrophy | Eating / Feeding oneself | Adaptive utensils with built-up handles, nonslip grips, or angled designs Cups with built-up handles and dome lids with straws or spouts Plates and bowls with suction bases.
Muscular Dystrophy | Drinking | Adaptive cups and mugs and adaptive, straws and adaptive straw holders and adaptive drinking systems
Muscular Dystrophy | Looking after one’s health / Physically demanding | Use mobility aids (e.g., wheelchairs, braces) as needed to conserve energy and prevent falls. Adaptive equipment like grab bars, railings, or lifts can make moving around the house safer and easier.
Muscular Dystrophy | Preparing meals | Assistive kitchen tools: Electric can openers, jar openers, lightweight pots and pans, and ergonomic knives can reduce the physical strain on muscles. Adaptive utensils: Utensils with larger, easier-to-grip handles can help with cooking, stirring, or handling food. Meal planning and preparation assistance: Some people with MD may rely on family members, caregivers, or meal delivery services to handle meal preparation.
Muscular Dystrophy | Houseworks | Lightweight and ergonomic cleaning tools: Using lightweight vacuums, mops, and dusters can reduce the strain on muscles. Electric or robotic cleaning devices: Robotic vacuum cleaners or automatic mops can help reduce the need for manual cleaning. Long-handled tools: Extended dusters, brooms, and scrubbers can help reduce the need for bending or reaching high. Grip aids: Adaptive aids for hands, such as grippers or tools with larger, cushioned handles, can make handling cleaning supplies easier.

## HouFac_Adapatn
Disease | HOUSING FACTORS | Housing adaptation
Muscular Dystrophy | External access: Car parking | 1) Sufficient space for the vehicle, the tail lift, and for the person to manoeuvre their powered chair between the vehicle and the property. This usually means allowing at least 1,200mm to the side and rear of a standard car parking space. 2) Car port may be worth considering, as it would provide shelter for the passengers in inclement weather.
Muscular Dystrophy | External access: Garden | 1) All paths in the garden should be firm, slip resistant and reasonably smooth. 2) Maintain sufficient space down the side of the property not only for wheelchair access, but also for moving things around the property, e.g. bins, garden equipment. 3) Access to garden, wide pathways (36-48 inches) with smooth, non-slip surfaces like concrete or packed gravel are essential. These surfaces are easier for wheelchairs, walkers, or mobility scooters to navigate than grass or loose stones 4) Level access and gradual slopes: Gentle slopes instead of stairs make the garden more accessible. If slopes are not possible, ramps with a gentle incline (1:12 ratio) are ideal. 5) Handrails and raised edging: Handrails provide stability, while raised edges can help individuals with visual impairments navigate safely. 6) Raised Garden Beds, 24-36 inches high can allow people in wheelchairs or with limited mobility to work without excessive bending or straining. 7) Where a patio area can be provided for social and leisure activities should be no less than 3m x 3m. 8) If there is a change of level between the edge of the patio and the garden, make sure there is a 100mm raised edge. 9) Garden gates should not be spring-loaded.
Muscular Dystrophy | External access: Access to the house | 1) There should be level access into the property - smooth, non-slip surface. For convenience should be at the least steep gradient. 2) The path/ramp access needs to be 1,200mm and there need to be platform areas measuring 1,500mm x 1,500mm at both ends of a slope, or at 10m intervals. 3) Gates need to have an accessible width of at least 850mm and the pathway should be illuminated.
Muscular Dystrophy | External access: Steps | 1) If the disabled person is able to walk and is unlikely to need a wheelchair in the immediate future to create shallow steps. 2) If the person walks and uses a wheelchair, supplementary ramping will also be required. 3) The person may need rails for balance and support, and these should be assessed according to the person’s height. 4) If there are steps into the garden, it may be possible to install equipment to facilitate access for a wheelchair user.
Muscular Dystrophy | External access: Short-rise lift | This type of lift for heights of between 500mm and 1,000mm may be needed where there is a very steep approach to a house (particularly from the pavement) and there is insufficient space for a ramp.
Muscular Dystrophy | External access: Step lift | In situations where it is impossible to build a ramp of the correct gradient, a step lift may be installed for access to the house. This consists of a platform (with safety rails and a folding front ramp), which rises hydraulically. This does not provide a solution for gardens with multiple sets of steps.
Muscular Dystrophy | External access: Portable ramps | Portable ramps may overcome difficult access into a house, usually as a temporary measure. Portable ramps should be strong yet lightweight enough to be moved safely by a carer. There are two choices – channel ramps and full-width ramps.
Muscular Dystrophy | External access: Ramps | Provide a ramp that: (1) have a gradient of between 1:20 and 1:15, (2) is 1,000 – 1,200mm wide, (3) provide a level area( top and bottom landing for every length of ramp) for the wheelchair while the door is opening/closing, (4) include railing – a handrail height (about 900mm) and a second rail (about 550mm) for wheelchair safety (these should be continuous and extend beyond the ramp by about 300mm), (5) have an upstanding edge of a minimum of 60 – 1,000m and (6) have a slip-resistant surface.
Muscular Dystrophy | Access into the house: Entrance doors | 1) The door width should be at least 850mm opening width and the threshold must be flush 2) There should be at least 300mm between the opening edge of the door and the nearest obstruction to the side, such as the wall 3) There must be an external landing measuring 1,500mm x 1,500mm clear of the door swing 4) The door must have an automatic light for night-time access 5) The wheelchair turning circle inside the door should be 1,500mm 6) There should be kick plates on the door to prevent damage from a powered wheelchair 7) A letterbox cage on the inside of the door makes access to post easier 8) The doorbell should be located at a suitable height and a spy hole – if appropriate – placed at a height that is useful to the disabled person 9) The door lock needs to be easy for the individual to manage; if not (now or in the future), think about automatic door openers.
Muscular Dystrophy | Access into the house: Electronic door-opener | An electronic door-opener system, the door can be opened with a simple fob. It can also be opened with keys.
Muscular Dystrophy | Access inside the house: Internal doors | 1) Conventional doors: anyone with restricted upper limb movement will find it hard to open this type of door. 2) Swing doors: move through 180º and can be pushed open with the footrests on a powered wheelchair. 3) Sliding doors: these are economical on space, but not easy for disabled people with weak upper limbs to open. The runners can also cause a floor-level obstruction. However, in some circumstances these may be the best option.
Muscular Dystrophy | Access inside the house: Access between the two rooms | 1) Recommended that a wheelchair user have a bed room and bath room which are linked with a joining door of no less than 850mm. This enhances dignity, privacy and also enables both rooms to be easily accessed. 2) Consider a dropped-height wall to divide the bed room and bath room to enable free movement of a ceiling tracking hoist.
Muscular Dystrophy | Access inside the house: Access to bed room | 1) A space of at least 1,100mm x 1,650mm available for the through-floor lift 2) The lift must be accessed from the same narrower end from each floor 3) A minimum 1,500mm turning circle of the lift door when it opens at 90º (this needs to be available on each floor).
Muscular Dystrophy | Access inside the house: Upstairs access | Platform Lifts (Vertical Platform Lifts or Inclined Platform Lifts). A vertical platform lift (VPL) works like a mini-elevator, lifting a person in their wheelchair vertically up to the next floor. Inclined platform lifts (IPLs) travel along the staircase with a platform that can carry a wheelchair.
Muscular Dystrophy | Access inside the house: Floor coverings | 1) bath room: The surface should be non-slip but not too abrasive, as the texture grips the sole of the shoe making it difficult to lift the foot. Any surface must be easy to clean or mop when it gets wet. 2) bed room /living rooms: a laminate floor covering is often the most suitable as it is easy to clean when a powered wheelchair is used indoors. It also offers less resistance to the wheelchair and to a manual hoist, if one is needed.
Muscular Dystrophy | Before entering the house: Area outside where dirt can be cleaned off | Space before entering the house where wheelchair can be clean or dry the wheels before going inside
Muscular Dystrophy | Electrical fittings | 1) For people who find it hard to raise their arms, the height of switches and sockets are ideally 900mm up from the floor. 2) All outlets, switches and controls should be positioned consistently in relation to doorways and corners, and in a logical sequence throughout the building. 3) To make light switches easy to find, they should be aligned horizontally with the door handles.
Muscular Dystrophy | Heating | 1) Heating devices (heating is important to warm up the muscle). It is essential to provide higher than average levels of heating, especially for the bed room, bath room and living room areas 2) A wall-mounted heater should be installed in the bath room to provide supplementary heating in the winter and in the summer when the central heating is not required. 3) The heating system should be instantly controllable and therefore capable of being boosted when necessary; able to provide a constant temperature and suitable to be left on, and when the disabled person is out of the house for the temperature to remain constant over any 24-hour period
Muscular Dystrophy | bath room: Bath or shower | Change bath room to wet room
Muscular Dystrophy | bath room: Level-access shower | Many people who can still walk may opt for a shower. Having a shower while standing is easier than getting into a bath. For anyone likely to be able to continue standing, this may be the best solution. However, for many people with muscle-wasting conditions, standing may not be very safe. Using a wall-mounted seat or shower-chair should be considered. Also, if the shower is to be used standing, the use of rails and their positioning will be important.
Muscular Dystrophy | bath room: Flooring | The conventional tiled floor that slopes to a drain outlet is not recommended. Any gradient is difficult for anyone with a muscle-wasting condition either to walk up or to propel a shower-chair up. The floor has to be level so that the wheels of the wheelchair are stable to ensure safety while transferring. A specialist surface, which consists of a level-access shower grille, is an option. One of its advantages is that the water drains across the whole shower area and the grille can be supplied in a variety of sizes
Muscular Dystrophy | bath room: Shower tray | If a shower tray is to be installed, it has to have level access and be produced from a non-slip material. The surrounding area also needs to be covered with a non-slip material.
Muscular Dystrophy | bath room: Seating in the shower | 1) Shower seats: if a shower is selected, it is important to consider the advantages of seating. There is a wide range of shower-chair products available on the market, including modular systems which can be altered as a person’s needs change. Any selected product needs to offer sufficient support for the user to feel stable and safe. An assessment needs to take into account whether or not it will also be used as a toileting chair 2) Static height wall-mounted seat or a mobile shower-chair: this decision will be determined by the person’s ability to walk or stand up from a chair, and whether the person has sufficient arm strength to propel a showerchair. The difficulty with a wall-mounted seat is that, if it is installed at the correct height for standing up, it will be too high to get down to wash the feet. However, if a shower-chair is used, consider how the user stands up from the chair. These difficulties are shared by many adults, resulting in the need for heightadjustability of the seat. 3) Electric, height-adjustable, wall-mounted shower-seat: one that rises with supportive back rest and arms may be considered.
Muscular Dystrophy | bath room: Wall-mounted rails | Rails can be wall-mounted or floor-mounted. Wall-mounted rails are recommended, as they do not obstruct the wheelchair circulation areas.
Muscular Dystrophy | bath room: Bath with an over-bath shower | The assessor should consider how to get in/out of the bath, preferably independently.
Muscular Dystrophy | bath room: Toilet | 1) Low-level cistern with a long flush pipe: this type of pan has an inlet pipe between the cistern and the pan and is not close-coupled. The importance of the inlet pipe is that the pan can be installed sufficiently far forwards from the cistern to allow a chair to be superimposed over the pan, with the chair seat correctly lined up with the bowl underneath. 2) Wash and dry toilets An electrically-operated wash and dry toilet should be considered for anyone who is unable to manage effective intimate hygiene owing to muscle weakness or reduced range of movement. This equipment facilitates effective cleansing after using the toilet and can be useful for girls and women during menstruation.
Muscular Dystrophy | bath room: Washbasins | Washbasins must be suitable for someone with severe weakness in their arms, who is not able to lean forward and then regain their position in the wheelchair. The basin should have a shallow front and as much clearance under the unit as possible for the disabled person to get their knees underneath. Flexible supply and waste pipes allow for the unit to be raised in the future if necessary.
Muscular Dystrophy | bath room: Transfer between the bed room and bath room | 1) Using a wheelchair – this is not a satisfactory option, unless the toilet is needed and there is not enough time to hoist the person on to the pan, or when using the washbasin 2) Shower-chair/wheeled bathing equipment 3) Hoist – this would require two separate tracks in the bed room and bath room, so it is not a recommended option. Also, raising and lowering the disabled person is time-consuming and requires access to a changing bed.
Muscular Dystrophy | bath room: Shared facilities | Where en suite facilities are to be provided, unless the existing bath room is to be adapted, the facilities are usually for the exclusive use of the disabled person.
Muscular Dystrophy | bath room: Wheelchair turning space | There should be wheelchair turning space of at least 1,500mm as the person enters the room space. This should be clear of obstructions. It may be worth considering a door that swings outwards to create more unobstructed space.
Muscular Dystrophy | bath room: Space to create wheelchair accessible in the bath room and bed room | 1) Toilet must be positioned so that there is at least 650mm available to one side for side transfers. However, it is advisable to aim for 500mm at either side of the toilet for carers to assist. 2) The washbasin space should be considered and the model aim to protrude minimally. 3) The bath should be positioned so that there is at least 500mm to the side of the bath for the carer (if it is possible to achieve 500mm on either side of the bath, this offers the option for two carers to assist though this depends on the bath being in a ‘peninsular’ position, where carers can access both sides of the bath, and the taps being at the wall end for plumbing) 4) The bath should be positioned so that there is at least 500mm to the side of the bath for the carer (if it is possible to achieve 500mm on either side of the bath, this offers the option for two carers to assist though this depends on the bath being 5) In the bath, there also needs to be sufficient height around the bath, should an adjustableheight bath be selected 6) If a bath with an integral seat is selected, there needs to be sufficient space for this to swivel away from the bath(there also needs to be space for the disabled person to transfer and a carer to assist).
Muscular Dystrophy | bed room: Space consideration | The bed room should be as large as the build allows to ensure there is space for an electric profiling bed, a powered wheelchair, medical equipment, storage and sufficient space for carers to carry out tasks.
Muscular Dystrophy | bed room: En-suite | The bed room and bath room should be en suite to protect the disabled person’s privacy, dignity and comfort are of highest priority
Muscular Dystrophy | bed room: Electric profiling bed | 1) Electric profiling beds (EPBs) are invaluable for children and adults with Duchenne muscular dystrophy, spinal muscular dystrophy (SMA) and other musclewasting conditions 2) Space for a single electric profiling bed (approx. 2,150mm x 1,100mm)
Muscular Dystrophy | bed room: Storage | Wardrobe and drawer space is an important consideration to remember when planning adaptations. It can sometimes be overlooked when planning adaptations for children and young people.
Muscular Dystrophy | bed room: Flooring | Wooden or laminate flooring for ease of cleaning and passage of the wheelchair.
Muscular Dystrophy | bed room: Lighting | Many people select more subtle lighting in the bed room. Although flush light fittings are required to enable the hoist to pass with ease, it is possible to select softer glow bulbs.
Muscular Dystrophy | bed room: Lift to bed room | There is a need for wheelchair circulation space and room for the bed and furniture.
Muscular Dystrophy | bed room: Wheelchair Space | Turning space of at least 1,500mm for the wheelchair
Muscular Dystrophy | Kitchen: People who use wheelchairs -Equipment | 1) Knee recesses for worktops: Provision will need to be made for knee recesses. These should be the depth of the work surface and at least 800mm wide. They should be provided below or adjacent to key task areas, including the hob, sink and food preparation areas. A recess should also be available next to appliances such as the fridge/freezer, oven and washing machine. 2) Worktop heights: should be adjustable or positioned at a suitable height for the user. Where possible, work surfaces should be continuous and enable the user to push items between areas in the kitchen without interruption. 3) The kitchen sink: should be inset with a shallow bowl (140-150mm deep). It needs to enable the user to reach into the bowl to wash up. The tap should be a lever design and the bottom of the bowl heat-proof, as this is likely to sit against the disabled person’s knees. 4) The cooker: Induction hobs with controls at the front are usually recommended. The hob should be located near to the oven with a preparation area between the two, have a work surface on at least one side, be insulated on the underside, have a means of indicating if the rings are hot, have controls at the front of the appliance, be self-igniting where gas rings are used, have knee space underneath, have clear knee space between the hob and the sink, and have an extractor fan with accessible controls. 5) Ovens should be right-side or left-side opening, rather than with drop-down doors. They should also have telescopic rails so the metal shelf can be pulled out and slid back in again, but they remain sturdy. The oven should be set in a housing unit that allows for height adjustment, have a pull-out worktop to one side of the oven, have a reversible side-hung door opening to 180º so that the door swing should not impede access for a wheelchair user, have slide-out non-tip shelves and have easy-to-use controls. 6) Fridge freezer: should have a gap of 610mm to enable the door to be opened fully and shelves to be removed. If the fridge and freezer are separate units, they should be on 200mm plinths. 7) Washing machines/tumble driers/dishwashers: these should be on a 200mm plinth for wheelchair users. 8) Pull-out drawer dishwashers are easy to use from a wheelchair. 9) Pull-out carousels in corner cupboards make good use of space and are easy to pull out if the person is in a wheelchair. 10) Cupboard and drawer handles are often best being D-shaped. It may be possible to install pull-down baskets within cupboards. These are useful if a person has enough strength to use them. 11) Adapted kitchen tools like lightweight utensils, non-slip mats, easy-grip jar openers, and specialized cookware can assist with meal preparation. Some use kitchen setups that allow them to cook from a seated position
Muscular Dystrophy | Kitchen: Storage | Storage: should be accessible, though this is likely to be limited. A reasonable adjustment might be to store the most commonly needed equipment and ingredients in areas that are most accessible to the person, and keep other items in higher or lower cupboards.
Muscular Dystrophy | Environmental cntrols | An environmental control system aims to provide some independence in carrying out everyday tasks. It allows the person to take charge of their surroundings at home for functions like: like lights, heating, electric profiling beds, computers, door openers, telephones, television and radio.
Muscular Dystrophy | Beds | Electric profiling beds (EPBs) are invaluable for children and adults with Duchenne muscular dystrophy, spinal muscular dystrophy (SMA) and other musclewasting conditions.